## Start Here
Kinondoni House - Finishing Procurement (China)
Main house only. Doors are made locally (their hardware is on the list). Network/CCTV is not on this list.
SET THESE TWO NUMBERS FIRST
USD/CNY rate (CNY per 1 USD) | 7.1 | Placeholder - update before trusting the USD totals.
Extra tiles for cuts & breakage | 12% | Added to every tile quantity. 10-15% is normal; slabs break more and cannot be topped up later.
THE SHEETS
Shopping List | Everything to buy, one line each. Fill in price, supplier and status (yellow). Use the filter arrows to see one category or one room.
By Room | Pick a room, print the page. The supplier packs against it; the site team checks the box against it.
Rooms | Room areas. Correct them after measuring on site - tile quantities update by themselves.
Doors | The 22 locally-made doors. Door hardware quantities update by themselves.
Packing | One line per box. The text to write on each box is created for you. Shows total volume and container size.
Quality Guide | What 'highest quality' means for each item, and where to buy in China.
COLOURS
Yellow = type here
Black = calculated, do not type
Grey italic = optional item
TOTALS
Items on the list | 212
Items with a price | 0
Total CNY | 0
Total USD | 0
of which optional items (CNY) | 0
Items received at site | 0
Boxes packed / received | 1 / 0
By category | Items | Total CNY | Total USD | Priced | Received
Tiles | 45 | 0 | 0 | 0 | 0
Sanitary | 66 | 0 | 0 | 0 | 0
Lighting | 13 | 0 | 0 | 0 | 0
Windows | 7 | 0 | 0 | 0 | 0
Switches & Sockets | 15 | 0 | 0 | 0 | 0
Door Hardware | 18 | 0 | 0 | 0 | 0
Kitchen | 14 | 0 | 0 | 0 | 0
Dining | 4 | 0 | 0 | 0 | 0
Living Room | 6 | 0 | 0 | 0 | 0
Master Bedroom | 10 | 0 | 0 | 0 | 0
Water Treatment (RO) | 9 | 0 | 0 | 0 | 0
Tools & Spares | 5 | 0 | 0 | 0 | 0
TOTAL | 212 | 0 | 0 | 0 | 0
STILL TO CONFIRM
• Cooking fuel: induction or gas (the hob is listed as induction).
• Water heaters are listed as optional (they are in the BOQ) - decide.
• Windows: sizes are BOQ sizes - re-measure every opening before ordering.
• Switches, sockets and downlights: counts are estimated from the ELEC drawings - electrician to count the boxes.
• Doors: 22 main-house doors listed - confirm with the carpenter's schedule.
• RO plant: test the borehole water first (TDS, chloride, hardness, iron) and give the result to the supplier.
• Tile areas are estimated from the drawings - measure each room before ordering.

## Shopping List
Shopping List
Yellow = type here (price, supplier, status). Black = calculated. Click the filter arrows on row 4 to see one category or one room. Add new items in the empty rows at the bottom.
ID | Room | Category | Item | Must-have spec | Size / Finish | Qty | Unit | Price (CNY) | Total CNY | Total USD | Supplier | Status | Notes | _
GF-ENT-01 | GF-ENT - Entrance | Tiles | Floor - big porcelain slab (+ extra % for cuts) | Porcelain slab, rectified, absorption <0.5%, marble-look | 1200 x 2400 mm, satin finish | 5 | m² |  |  |  |  | To buy | Qty follows the area on the Rooms sheet (estimated - measure on site)
GF-HAL-01 | GF-HAL - Hall & Corridors | Tiles | Floor - big porcelain slab (+ extra % for cuts) | Porcelain slab, rectified, absorption <0.5%, marble-look | 1200 x 2400 mm, satin finish | 51 | m² |  |  |  |  | To buy | Qty follows the area on the Rooms sheet (estimated - measure on site)
GF-LIV-01 | GF-LIV - Living Room | Tiles | Floor - big porcelain slab (+ extra % for cuts) | Porcelain slab, rectified, absorption <0.5%, marble-look | 1200 x 2400 mm, satin finish | 32 | m² |  |  |  |  | To buy | Qty follows the area on the Rooms sheet (estimated - measure on site)
GF-DIN-01 | GF-DIN - Dining | Tiles | Floor - big porcelain slab (+ extra % for cuts) | Porcelain slab, rectified, absorption <0.5%, marble-look | 1200 x 2400 mm, satin finish | 33 | m² |  |  |  |  | To buy | Qty follows the area on the Rooms sheet (estimated - measure on site)
GF-KIT-01 | GF-KIT - Kitchen | Tiles | Floor - big porcelain slab (+ extra % for cuts) | Porcelain slab, rectified, absorption <0.5%, marble-look | 1200 x 2400 mm, satin finish | 25 | m² |  |  |  |  | To buy | Qty follows the area on the Rooms sheet (estimated - measure on site) | 1
GF-KIT-02 | GF-KIT - Kitchen | Tiles | Kitchen backsplash slab (+ extra %) | Sintered stone or porcelain slab matching worktop | 1200 x 2400 mm | 7 | m² |  |  |  |  | To buy | Qty follows Rooms sheet | 2
GF-PAN-01 | GF-PAN - Walk-in Pantry | Tiles | Floor - big porcelain slab (+ extra % for cuts) | Porcelain slab, rectified, absorption <0.5%, marble-look | 1200 x 2400 mm, satin finish | 8 | m² |  |  |  |  | To buy | Qty follows the area on the Rooms sheet (estimated - measure on site)
GF-STR-01 | GF-STR - Store Room | Tiles | Floor - big porcelain slab (+ extra % for cuts) | Porcelain slab, rectified, absorption <0.5%, marble-look | 1200 x 2400 mm, satin finish | 7 | m² |  |  |  |  | To buy | Qty follows the area on the Rooms sheet (estimated - measure on site)
GF-OFF-01 | GF-OFF - Home Office | Tiles | Floor - big porcelain slab (+ extra % for cuts) | Porcelain slab, rectified, absorption <0.5%, marble-look | 1200 x 2400 mm, satin finish | 9 | m² |  |  |  |  | To buy | Qty follows the area on the Rooms sheet (estimated - measure on site)
GF-PRY-01 | GF-PRY - Prayer Room | Tiles | Floor - big porcelain slab (+ extra % for cuts) | Porcelain slab, rectified, absorption <0.5%, marble-look | 1200 x 2400 mm, satin finish | 10 | m² |  |  |  |  | To buy | Qty follows the area on the Rooms sheet (estimated - measure on site)
GF-GBR-01 | GF-GBR - Guest Bedroom | Tiles | Floor - big porcelain slab (+ extra % for cuts) | Porcelain slab, rectified, absorption <0.5%, marble-look | 1200 x 2400 mm, satin finish | 19 | m² |  |  |  |  | To buy | Qty follows the area on the Rooms sheet (estimated - measure on site)
GF-GBA-01 | GF-GBA - Guest Bathroom | Tiles | Bathroom floor - anti-slip (+ extra %) | Porcelain R11 anti-slip, matt | 600 x 1200 mm, matt | 7 | m² |  |  |  |  | To buy | Qty follows Rooms sheet
GF-GBA-02 | GF-GBA - Guest Bathroom | Tiles | Bathroom walls - full-height slab (+ extra %) | Porcelain wall slab, floor to ceiling | 1200 x 2400 mm, satin | 31 | m² |  |  |  |  | To buy | Qty follows Rooms sheet (perimeter x 2.7 m)
GF-PWC-01 | GF-PWC - Public WC | Tiles | Bathroom floor - anti-slip (+ extra %) | Porcelain R11 anti-slip, matt | 600 x 1200 mm, matt | 3 | m² |  |  |  |  | To buy | Qty follows Rooms sheet
GF-PWC-02 | GF-PWC - Public WC | Tiles | Bathroom walls - full-height slab (+ extra %) | Porcelain wall slab, floor to ceiling | 1200 x 2400 mm, satin | 17 | m² |  |  |  |  | To buy | Qty follows Rooms sheet (perimeter x 2.7 m)
GF-VER-01 | GF-VER - Kitchen Verandah | Tiles | Heavy-duty outdoor floor 20 mm (+ extra %) | 20 mm porcelain R11, car-load strength | 600 x 1200 x 20 mm, dark grey | 11 | m² |  |  |  |  | To buy | Dark grey to match charcoal driveway pavers
GF-PRK-01 | GF-PRK - Carport | Tiles | Heavy-duty outdoor floor 20 mm (+ extra %) | 20 mm porcelain R11, car-load strength | 600 x 1200 x 20 mm, dark grey | 36 | m² |  |  |  |  | To buy | Dark grey to match charcoal driveway pavers
GF-STA-01 | GF-STA - Stairs Ground to First | Tiles | Stair treads with anti-slip nosing | Porcelain step tread, grooved nosing, same colour as floor | 1200 x 330 mm | 24 | pcs |  |  |  |  | To buy | 21 treads + 3 spare
GF-STA-02 | GF-STA - Stairs Ground to First | Tiles | Stair risers | Porcelain riser matching tread | 1200 x 160 mm | 25 | pcs |  |  |  |  | To buy | 22 risers + 3 spare
GF-STA-03 | GF-STA - Stairs Ground to First | Tiles | Stair landings (cut from floor slab) | Same slab as floors | 1200 x 2400 mm | 6 | m² |  |  |  |  | To buy | Assumed - measure landings
FF-LND-01 | FF-LND - Landing & Corridor | Tiles | Floor - big porcelain slab (+ extra % for cuts) | Porcelain slab, rectified, absorption <0.5%, marble-look | 1200 x 2400 mm, satin finish | 40 | m² |  |  |  |  | To buy | Qty follows the area on the Rooms sheet (estimated - measure on site)
FF-MBR-01 | FF-MBR - Master Bedroom | Tiles | Floor - big porcelain slab (+ extra % for cuts) | Porcelain slab, rectified, absorption <0.5%, marble-look | 1200 x 2400 mm, satin finish | 32 | m² |  |  |  |  | To buy | Qty follows the area on the Rooms sheet (estimated - measure on site)
FF-MBA-01 | FF-MBA - Master Bathroom | Tiles | Bathroom floor - anti-slip (+ extra %) | Porcelain R11 anti-slip, matt | 600 x 1200 mm, matt | 10 | m² |  |  |  |  | To buy | Qty follows Rooms sheet
FF-MBA-02 | FF-MBA - Master Bathroom | Tiles | Bathroom walls - full-height slab (+ extra %) | Porcelain wall slab, floor to ceiling | 1200 x 2400 mm, satin | 33 | m² |  |  |  |  | To buy | Qty follows Rooms sheet (perimeter x 2.7 m)
FF-CLO-01 | FF-CLO - Master Closet | Tiles | Floor - big porcelain slab (+ extra % for cuts) | Porcelain slab, rectified, absorption <0.5%, marble-look | 1200 x 2400 mm, satin finish | 11 | m² |  |  |  |  | To buy | Qty follows the area on the Rooms sheet (estimated - measure on site)
FF-BR1-01 | FF-BR1 - Bedroom 1 | Tiles | Floor - big porcelain slab (+ extra % for cuts) | Porcelain slab, rectified, absorption <0.5%, marble-look | 1200 x 2400 mm, satin finish | 19 | m² |  |  |  |  | To buy | Qty follows the area on the Rooms sheet (estimated - measure on site)
FF-BA1-01 | FF-BA1 - Bathroom 1 | Tiles | Bathroom floor - anti-slip (+ extra %) | Porcelain R11 anti-slip, matt | 600 x 1200 mm, matt | 7 | m² |  |  |  |  | To buy | Qty follows Rooms sheet
FF-BA1-02 | FF-BA1 - Bathroom 1 | Tiles | Bathroom walls - full-height slab (+ extra %) | Porcelain wall slab, floor to ceiling | 1200 x 2400 mm, satin | 31 | m² |  |  |  |  | To buy | Qty follows Rooms sheet (perimeter x 2.7 m)
FF-BR2-01 | FF-BR2 - Bedroom 2 | Tiles | Floor - big porcelain slab (+ extra % for cuts) | Porcelain slab, rectified, absorption <0.5%, marble-look | 1200 x 2400 mm, satin finish | 17 | m² |  |  |  |  | To buy | Qty follows the area on the Rooms sheet (estimated - measure on site)
FF-BA2-01 | FF-BA2 - Bathroom 2 | Tiles | Bathroom floor - anti-slip (+ extra %) | Porcelain R11 anti-slip, matt | 600 x 1200 mm, matt | 8 | m² |  |  |  |  | To buy | Qty follows Rooms sheet
FF-BA2-02 | FF-BA2 - Bathroom 2 | Tiles | Bathroom walls - full-height slab (+ extra %) | Porcelain wall slab, floor to ceiling | 1200 x 2400 mm, satin | 31 | m² |  |  |  |  | To buy | Qty follows Rooms sheet (perimeter x 2.7 m)
FF-BR3-01 | FF-BR3 - Bedroom 3 | Tiles | Floor - big porcelain slab (+ extra % for cuts) | Porcelain slab, rectified, absorption <0.5%, marble-look | 1200 x 2400 mm, satin finish | 18 | m² |  |  |  |  | To buy | Qty follows the area on the Rooms sheet (estimated - measure on site)
FF-BA3-01 | FF-BA3 - Bathroom 3 | Tiles | Bathroom floor - anti-slip (+ extra %) | Porcelain R11 anti-slip, matt | 600 x 1200 mm, matt | 5 | m² |  |  |  |  | To buy | Qty follows Rooms sheet
FF-BA3-02 | FF-BA3 - Bathroom 3 | Tiles | Bathroom walls - full-height slab (+ extra %) | Porcelain wall slab, floor to ceiling | 1200 x 2400 mm, satin | 24 | m² |  |  |  |  | To buy | Qty follows Rooms sheet (perimeter x 2.7 m)
FF-FAM-01 | FF-FAM - Family Lounge | Tiles | Floor - big porcelain slab (+ extra % for cuts) | Porcelain slab, rectified, absorption <0.5%, marble-look | 1200 x 2400 mm, satin finish | 32 | m² |  |  |  |  | To buy | Qty follows the area on the Rooms sheet (estimated - measure on site)
FF-BAL-01 | FF-BAL - Balconies (all 4) | Tiles | Outdoor floor 20 mm (+ extra %) | 20 mm porcelain, R11, UV stable | 600 x 1200 x 20 mm, stone-look | 40 | m² |  |  |  |  | To buy | Qty follows Rooms sheet
FF-STA-01 | FF-STA - Stairs First to Roof | Tiles | Stair treads with anti-slip nosing | Porcelain step tread, grooved nosing, same colour as floor | 1200 x 330 mm | 24 | pcs |  |  |  |  | To buy | 21 treads + 3 spare
FF-STA-02 | FF-STA - Stairs First to Roof | Tiles | Stair risers | Porcelain riser matching tread | 1200 x 160 mm | 25 | pcs |  |  |  |  | To buy | 22 risers + 3 spare
FF-STA-03 | FF-STA - Stairs First to Roof | Tiles | Stair landings (cut from floor slab) | Same slab as floors | 1200 x 2400 mm | 6 | m² |  |  |  |  | To buy | Assumed - measure landings
RF-GYM-01 | RF-GYM - Gym | Tiles | Gym floor - matt anti-slip (+ extra %) | Porcelain R10 matt (rubber mats under weights - buy locally) | 600 x 1200 mm | 53 | m² |  |  |  |  | To buy | Qty follows Rooms sheet
RF-WC-01 | RF-WC - Roof WC | Tiles | Bathroom floor - anti-slip (+ extra %) | Porcelain R11 anti-slip, matt | 600 x 1200 mm, matt | 3 | m² |  |  |  |  | To buy | Qty follows Rooms sheet
RF-WC-02 | RF-WC - Roof WC | Tiles | Bathroom walls - full-height slab (+ extra %) | Porcelain wall slab, floor to ceiling | 1200 x 2400 mm, satin | 15 | m² |  |  |  |  | To buy | Qty follows Rooms sheet (perimeter x 2.7 m)
RF-LOB-01 | RF-LOB - Roof Lobby | Tiles | Outdoor floor 20 mm (+ extra %) | 20 mm porcelain, R11, UV stable | 600 x 1200 x 20 mm, stone-look | 21 | m² |  |  |  |  | To buy | Qty follows Rooms sheet
RF-TER-01 | RF-TER - Roof Terrace (Phase II) | Tiles | Outdoor floor 20 mm - terrace (optional) | 20 mm porcelain R11; can sit on pedestals later | 600 x 1200 x 20 mm | 124 | m² |  |  |  |  | To buy | Phase II - only if budget allows (same batch as balconies)
ALL-01 | ALL - Whole house | Tiles | Skirting for all floors | Porcelain skirting matching floor slab (or cut from offcuts on site) | 1200 x 100 mm | 340 | lm |  |  |  |  | To buy | Assumed 310 lm + 10%
GF-DIN-02 | GF-DIN - Dining | Sanitary | Dining hand-wash basin on small cabinet + mixer | Ceramic/sintered basin; mixer SUS316L stainless body (not 304, not zinc, not plated brass), ceramic cartridge, PVD finish | 600 x 450 mm | 1 | set |  |  |  |  | To buy | Shown on drawing A-104
GF-GBA-03 | GF-GBA - Guest Bathroom | Sanitary | Wall-hung WC + concealed cistern & frame + flush plate | Rimless, soft-close seat; dual flush 3/6 L; plastic/stainless cistern internals (no brass) | White; plate to match fixtures | 1 | set |  |  |  |  | To buy | Frame goes in BEFORE wall tiling
GF-GBA-04 | GF-GBA - Guest Bathroom | Sanitary | Floating vanity with basin | No particleboard/MDF - aluminium honeycomb, stainless or E0 marine-ply carcass; Blum/Hettich soft-close; sintered stone top | 800-1000 mm (measure wall) | 1 | set |  |  |  |  | To buy
GF-GBA-05 | GF-GBA - Guest Bathroom | Sanitary | Basin mixer | SUS316L stainless body (not 304, not zinc, not plated brass), ceramic cartridge, PVD finish | Single lever, deck-mounted | 1 | pcs |  |  |  |  | To buy
GF-GBA-06 | GF-GBA - Guest Bathroom | Sanitary | Concealed thermostatic shower (rain head + hand shower) | SUS316L stainless body (not 304, not zinc, not plated brass), ceramic cartridge, PVD finish; box embedded before tiling | 300 mm rain head | 1 | set |  |  |  |  | To buy | Chase wall before tiling
GF-GBA-07 | GF-GBA - Guest Bathroom | Sanitary | Walk-in shower glass screen | 10 mm tempered, easy-clean coating, SUS316 clamps | 900-1200 x 2000 mm | 1 | set |  |  |  |  | To buy | Confirm size
GF-GBA-08 | GF-GBA - Guest Bathroom | Sanitary | Drains: linear shower drain 800 mm + floor drain | SUS316L, tile-insert grates, anti-odour | 800 mm + 110 x 110 mm | 1 | set |  |  |  |  | To buy
GF-GBA-09 | GF-GBA - Guest Bathroom | Sanitary | Electric water heater 80 L (optional) | Titanium-enamel or glass-lined tank, magnesium anode + spares, 2 kW | 80 L | 1 | pcs |  |  |  |  | To buy | In the BOQ - confirm. Salty water kills cheap tanks
GF-GBA-10 | GF-GBA - Guest Bathroom | Sanitary | Bidet hand spray (shattaf) + 3 angle valves | SUS316L stainless body (not 304, not zinc, not plated brass), ceramic cartridge, PVD finish | 1.2 m hose | 1 | set |  |  |  |  | To buy
GF-GBA-11 | GF-GBA - Guest Bathroom | Sanitary | LED anti-fog mirror | Touch switch, demister, IP44 | 800x800 | 1 | pcs |  |  |  |  | To buy
GF-GBA-12 | GF-GBA - Guest Bathroom | Sanitary | Accessory set (towel rail, hooks, roll holder) | Solid SUS316 | Match fixtures finish | 1 | set |  |  |  |  | To buy
GF-PWC-03 | GF-PWC - Public WC | Sanitary | Wall-hung WC + concealed cistern & frame + flush plate | Rimless, soft-close seat; dual flush 3/6 L; plastic/stainless cistern internals (no brass) | White; plate to match fixtures | 1 | set |  |  |  |  | To buy | Frame goes in BEFORE wall tiling
GF-PWC-04 | GF-PWC - Public WC | Sanitary | Compact wall-hung basin + SUS316 bottle trap | Ceramic | 500 x 350 mm | 1 | set |  |  |  |  | To buy
GF-PWC-05 | GF-PWC - Public WC | Sanitary | Basin mixer | SUS316L stainless body (not 304, not zinc, not plated brass), ceramic cartridge, PVD finish | Single lever, deck-mounted | 1 | pcs |  |  |  |  | To buy
GF-PWC-06 | GF-PWC - Public WC | Sanitary | Floor drain | SUS316L grate & body, anti-odour | 110 x 110 mm | 1 | pcs |  |  |  |  | To buy
GF-PWC-07 | GF-PWC - Public WC | Sanitary | Bidet hand spray (shattaf) + 3 angle valves | SUS316L stainless body (not 304, not zinc, not plated brass), ceramic cartridge, PVD finish | 1.2 m hose | 1 | set |  |  |  |  | To buy
GF-PWC-08 | GF-PWC - Public WC | Sanitary | LED anti-fog mirror | Touch switch, demister, IP44 | 600x800 | 1 | pcs |  |  |  |  | To buy
GF-PWC-09 | GF-PWC - Public WC | Sanitary | Accessory set (towel rail, hooks, roll holder) | Solid SUS316 | Match fixtures finish | 1 | set |  |  |  |  | To buy
FF-MBA-03 | FF-MBA - Master Bathroom | Sanitary | Wall-hung WC + concealed cistern & frame + flush plate | Rimless, soft-close seat; dual flush 3/6 L; plastic/stainless cistern internals (no brass) | White; plate to match fixtures | 1 | set |  |  |  |  | To buy | Frame goes in BEFORE wall tiling
FF-MBA-04 | FF-MBA - Master Bathroom | Sanitary | Double floating vanity with 2 basins | No particleboard/MDF - aluminium honeycomb, stainless or E0 marine-ply carcass; Blum/Hettich soft-close; sintered stone top | 1500 x 500 mm | 1 | set |  |  |  |  | To buy
FF-MBA-05 | FF-MBA - Master Bathroom | Sanitary | Basin mixers | SUS316L stainless body (not 304, not zinc, not plated brass), ceramic cartridge, PVD finish | Single lever, deck-mounted | 2 | pcs |  |  |  |  | To buy
FF-MBA-06 | FF-MBA - Master Bathroom | Sanitary | Built-in acrylic bathtub + bath filler with hand shower | Reinforced acrylic; filler SUS316L stainless body (not 304, not zinc, not plated brass), ceramic cartridge, PVD finish | 1700 x 750 mm | 1 | set |  |  |  |  | To buy | Check alcove size on site
FF-MBA-07 | FF-MBA - Master Bathroom | Sanitary | Concealed thermostatic shower (rain head + hand shower) | SUS316L stainless body (not 304, not zinc, not plated brass), ceramic cartridge, PVD finish; box embedded before tiling | 300 mm rain head | 1 | set |  |  |  |  | To buy | Chase wall before tiling
FF-MBA-08 | FF-MBA - Master Bathroom | Sanitary | Walk-in shower glass screen | 10 mm tempered, easy-clean coating, SUS316 clamps | 900-1200 x 2000 mm | 1 | set |  |  |  |  | To buy | Confirm size
FF-MBA-09 | FF-MBA - Master Bathroom | Sanitary | Drains: linear shower drain 800 mm + floor drain | SUS316L, tile-insert grates, anti-odour | 800 mm + 110 x 110 mm | 1 | set |  |  |  |  | To buy
FF-MBA-10 | FF-MBA - Master Bathroom | Sanitary | Electric water heater 80 L (optional) | Titanium-enamel or glass-lined tank, magnesium anode + spares, 2 kW | 80 L | 1 | pcs |  |  |  |  | To buy | In the BOQ - confirm. Salty water kills cheap tanks
FF-MBA-11 | FF-MBA - Master Bathroom | Sanitary | Bidet hand spray (shattaf) + 3 angle valves | SUS316L stainless body (not 304, not zinc, not plated brass), ceramic cartridge, PVD finish | 1.2 m hose | 1 | set |  |  |  |  | To buy
FF-MBA-12 | FF-MBA - Master Bathroom | Sanitary | LED anti-fog mirror | Touch switch, demister, IP44 | 1500x800 | 1 | pcs |  |  |  |  | To buy
FF-MBA-13 | FF-MBA - Master Bathroom | Sanitary | Accessory set (towel rail, hooks, roll holder) | Solid SUS316 | Match fixtures finish | 1 | set |  |  |  |  | To buy
FF-BA1-03 | FF-BA1 - Bathroom 1 | Sanitary | Wall-hung WC + concealed cistern & frame + flush plate | Rimless, soft-close seat; dual flush 3/6 L; plastic/stainless cistern internals (no brass) | White; plate to match fixtures | 1 | set |  |  |  |  | To buy | Frame goes in BEFORE wall tiling
FF-BA1-04 | FF-BA1 - Bathroom 1 | Sanitary | Floating vanity with basin | No particleboard/MDF - aluminium honeycomb, stainless or E0 marine-ply carcass; Blum/Hettich soft-close; sintered stone top | 800-1000 mm (measure wall) | 1 | set |  |  |  |  | To buy
FF-BA1-05 | FF-BA1 - Bathroom 1 | Sanitary | Basin mixer | SUS316L stainless body (not 304, not zinc, not plated brass), ceramic cartridge, PVD finish | Single lever, deck-mounted | 1 | pcs |  |  |  |  | To buy
FF-BA1-06 | FF-BA1 - Bathroom 1 | Sanitary | Concealed thermostatic shower (rain head + hand shower) | SUS316L stainless body (not 304, not zinc, not plated brass), ceramic cartridge, PVD finish; box embedded before tiling | 300 mm rain head | 1 | set |  |  |  |  | To buy | Chase wall before tiling
FF-BA1-07 | FF-BA1 - Bathroom 1 | Sanitary | Walk-in shower glass screen | 10 mm tempered, easy-clean coating, SUS316 clamps | 900-1200 x 2000 mm | 1 | set |  |  |  |  | To buy | Confirm size
FF-BA1-08 | FF-BA1 - Bathroom 1 | Sanitary | Drains: linear shower drain 800 mm + floor drain | SUS316L, tile-insert grates, anti-odour | 800 mm + 110 x 110 mm | 1 | set |  |  |  |  | To buy
FF-BA1-09 | FF-BA1 - Bathroom 1 | Sanitary | Electric water heater 80 L (optional) | Titanium-enamel or glass-lined tank, magnesium anode + spares, 2 kW | 80 L | 1 | pcs |  |  |  |  | To buy | In the BOQ - confirm. Salty water kills cheap tanks
FF-BA1-10 | FF-BA1 - Bathroom 1 | Sanitary | Bidet hand spray (shattaf) + 3 angle valves | SUS316L stainless body (not 304, not zinc, not plated brass), ceramic cartridge, PVD finish | 1.2 m hose | 1 | set |  |  |  |  | To buy
FF-BA1-11 | FF-BA1 - Bathroom 1 | Sanitary | LED anti-fog mirror | Touch switch, demister, IP44 | 800x800 | 1 | pcs |  |  |  |  | To buy
FF-BA1-12 | FF-BA1 - Bathroom 1 | Sanitary | Accessory set (towel rail, hooks, roll holder) | Solid SUS316 | Match fixtures finish | 1 | set |  |  |  |  | To buy
FF-BA2-03 | FF-BA2 - Bathroom 2 | Sanitary | Wall-hung WC + concealed cistern & frame + flush plate | Rimless, soft-close seat; dual flush 3/6 L; plastic/stainless cistern internals (no brass) | White; plate to match fixtures | 1 | set |  |  |  |  | To buy | Frame goes in BEFORE wall tiling
FF-BA2-04 | FF-BA2 - Bathroom 2 | Sanitary | Floating vanity with basin | No particleboard/MDF - aluminium honeycomb, stainless or E0 marine-ply carcass; Blum/Hettich soft-close; sintered stone top | 800-1000 mm (measure wall) | 1 | set |  |  |  |  | To buy
FF-BA2-05 | FF-BA2 - Bathroom 2 | Sanitary | Basin mixer | SUS316L stainless body (not 304, not zinc, not plated brass), ceramic cartridge, PVD finish | Single lever, deck-mounted | 1 | pcs |  |  |  |  | To buy
FF-BA2-06 | FF-BA2 - Bathroom 2 | Sanitary | Concealed thermostatic shower (rain head + hand shower) | SUS316L stainless body (not 304, not zinc, not plated brass), ceramic cartridge, PVD finish; box embedded before tiling | 300 mm rain head | 1 | set |  |  |  |  | To buy | Chase wall before tiling
FF-BA2-07 | FF-BA2 - Bathroom 2 | Sanitary | Walk-in shower glass screen | 10 mm tempered, easy-clean coating, SUS316 clamps | 900-1200 x 2000 mm | 1 | set |  |  |  |  | To buy | Confirm size
FF-BA2-08 | FF-BA2 - Bathroom 2 | Sanitary | Drains: linear shower drain 800 mm + floor drain | SUS316L, tile-insert grates, anti-odour | 800 mm + 110 x 110 mm | 1 | set |  |  |  |  | To buy
FF-BA2-09 | FF-BA2 - Bathroom 2 | Sanitary | Electric water heater 80 L (optional) | Titanium-enamel or glass-lined tank, magnesium anode + spares, 2 kW | 80 L | 1 | pcs |  |  |  |  | To buy | In the BOQ - confirm. Salty water kills cheap tanks
FF-BA2-10 | FF-BA2 - Bathroom 2 | Sanitary | Bidet hand spray (shattaf) + 3 angle valves | SUS316L stainless body (not 304, not zinc, not plated brass), ceramic cartridge, PVD finish | 1.2 m hose | 1 | set |  |  |  |  | To buy
FF-BA2-11 | FF-BA2 - Bathroom 2 | Sanitary | LED anti-fog mirror | Touch switch, demister, IP44 | 800x800 | 1 | pcs |  |  |  |  | To buy
FF-BA2-12 | FF-BA2 - Bathroom 2 | Sanitary | Accessory set (towel rail, hooks, roll holder) | Solid SUS316 | Match fixtures finish | 1 | set |  |  |  |  | To buy
FF-BA3-03 | FF-BA3 - Bathroom 3 | Sanitary | Wall-hung WC + concealed cistern & frame + flush plate | Rimless, soft-close seat; dual flush 3/6 L; plastic/stainless cistern internals (no brass) | White; plate to match fixtures | 1 | set |  |  |  |  | To buy | Frame goes in BEFORE wall tiling
FF-BA3-04 | FF-BA3 - Bathroom 3 | Sanitary | Floating vanity with basin | No particleboard/MDF - aluminium honeycomb, stainless or E0 marine-ply carcass; Blum/Hettich soft-close; sintered stone top | 800-1000 mm (measure wall) | 1 | set |  |  |  |  | To buy
FF-BA3-05 | FF-BA3 - Bathroom 3 | Sanitary | Basin mixer | SUS316L stainless body (not 304, not zinc, not plated brass), ceramic cartridge, PVD finish | Single lever, deck-mounted | 1 | pcs |  |  |  |  | To buy
FF-BA3-06 | FF-BA3 - Bathroom 3 | Sanitary | Concealed thermostatic shower (rain head + hand shower) | SUS316L stainless body (not 304, not zinc, not plated brass), ceramic cartridge, PVD finish; box embedded before tiling | 300 mm rain head | 1 | set |  |  |  |  | To buy | Chase wall before tiling
FF-BA3-07 | FF-BA3 - Bathroom 3 | Sanitary | Walk-in shower glass screen | 10 mm tempered, easy-clean coating, SUS316 clamps | 900-1200 x 2000 mm | 1 | set |  |  |  |  | To buy | Confirm size
FF-BA3-08 | FF-BA3 - Bathroom 3 | Sanitary | Drains: linear shower drain 800 mm + floor drain | SUS316L, tile-insert grates, anti-odour | 800 mm + 110 x 110 mm | 1 | set |  |  |  |  | To buy
FF-BA3-09 | FF-BA3 - Bathroom 3 | Sanitary | Electric water heater 80 L (optional) | Titanium-enamel or glass-lined tank, magnesium anode + spares, 2 kW | 80 L | 1 | pcs |  |  |  |  | To buy | In the BOQ - confirm. Salty water kills cheap tanks
FF-BA3-10 | FF-BA3 - Bathroom 3 | Sanitary | Bidet hand spray (shattaf) + 3 angle valves | SUS316L stainless body (not 304, not zinc, not plated brass), ceramic cartridge, PVD finish | 1.2 m hose | 1 | set |  |  |  |  | To buy
FF-BA3-11 | FF-BA3 - Bathroom 3 | Sanitary | LED anti-fog mirror | Touch switch, demister, IP44 | 800x800 | 1 | pcs |  |  |  |  | To buy
FF-BA3-12 | FF-BA3 - Bathroom 3 | Sanitary | Accessory set (towel rail, hooks, roll holder) | Solid SUS316 | Match fixtures finish | 1 | set |  |  |  |  | To buy
RF-WC-03 | RF-WC - Roof WC | Sanitary | Wall-hung WC + concealed cistern & frame + flush plate | Rimless, soft-close seat; dual flush 3/6 L; plastic/stainless cistern internals (no brass) | White; plate to match fixtures | 1 | set |  |  |  |  | To buy | Frame goes in BEFORE wall tiling
RF-WC-04 | RF-WC - Roof WC | Sanitary | Compact wall-hung basin + SUS316 bottle trap | Ceramic | 500 x 350 mm | 1 | set |  |  |  |  | To buy
RF-WC-05 | RF-WC - Roof WC | Sanitary | Basin mixer | SUS316L stainless body (not 304, not zinc, not plated brass), ceramic cartridge, PVD finish | Single lever, deck-mounted | 1 | pcs |  |  |  |  | To buy
RF-WC-06 | RF-WC - Roof WC | Sanitary | Floor drain | SUS316L grate & body, anti-odour | 110 x 110 mm | 1 | pcs |  |  |  |  | To buy
RF-WC-07 | RF-WC - Roof WC | Sanitary | Bidet hand spray (shattaf) + 3 angle valves | SUS316L stainless body (not 304, not zinc, not plated brass), ceramic cartridge, PVD finish | 1.2 m hose | 1 | set |  |  |  |  | To buy
RF-WC-08 | RF-WC - Roof WC | Sanitary | LED anti-fog mirror | Touch switch, demister, IP44 | 600x800 | 1 | pcs |  |  |  |  | To buy
RF-WC-09 | RF-WC - Roof WC | Sanitary | Accessory set (towel rail, hooks, roll holder) | Solid SUS316 | Match fixtures finish | 1 | set |  |  |  |  | To buy
GF-ENT-02 | GF-ENT - Entrance | Lighting | Outdoor wall light at entrance | IP65 die-cast aluminium, marine powder coat | Match window frame colour | 1 | pcs |  |  |  |  | To buy
GF-LIV-02 | GF-LIV - Living Room | Lighting | Chandelier / feature pendant | LED, dimmable; check ceiling fixing | Designer to select | 1 | pcs |  |  |  |  | To buy
GF-DIN-03 | GF-DIN - Dining | Lighting | Chandelier over dining table | LED, dimmable | Designer to select | 1 | pcs |  |  |  |  | To buy
GF-KIT-03 | GF-KIT - Kitchen | Lighting | Pendants over island (optional) | LED | Designer to select | 3 | pcs |  |  |  |  | To buy | Only if a ceiling point exists over the island | 3
GF-KIT-04 | GF-KIT - Kitchen | Lighting | Under-cabinet LED strip + profile + driver | 24V, CRI>90, aluminium profile with diffuser | 3000K | 7 | m |  |  |  |  | To buy |  | 4
FF-MBR-02 | FF-MBR - Master Bedroom | Lighting | Chandelier / feature pendant | LED, dimmable | Designer to select | 1 | pcs |  |  |  |  | To buy
FF-FAM-02 | FF-FAM - Family Lounge | Lighting | Chandelier / feature pendant | LED, dimmable | Designer to select | 1 | pcs |  |  |  |  | To buy
RF-TER-02 | RF-TER - Roof Terrace (Phase II) | Lighting | Outdoor wall lights - terrace (optional) | IP65 die-cast aluminium, marine powder coat | Match window frame colour | 8 | pcs |  |  |  |  | To buy | Phase II
ALL-02 | ALL - Whole house | Lighting | LED downlights - warm white 3000K (living, bedrooms, corridors) | CRI>90, flicker-free driver, anti-glare, 220-240V 50Hz | 10-12 W, white trim | 80 | pcs |  |  |  |  | To buy | Approx. 75 points on ELEC drawings + spares - electrician to confirm
ALL-03 | ALL - Whole house | Lighting | LED downlights - 4000K (kitchen, pantry, store, office, gym) | CRI>90, flicker-free driver, anti-glare, 220-240V 50Hz | 10-12 W, white trim | 22 | pcs |  |  |  |  | To buy | Approx. 20 points + spares
ALL-04 | ALL - Whole house | Lighting | LED downlights - IP65 (bathrooms, balconies, carport, verandah, roof lobby) | CRI>90, flicker-free driver, anti-glare, 220-240V 50Hz; IP65 aluminium body | 10 W, 3000K | 32 | pcs |  |  |  |  | To buy | Approx. 29 points + spares
ALL-05 | ALL - Whole house | Lighting | Cove LED strip for gypsum ceilings (optional) | 24V, CRI>90, dimmable driver | 3000K | 40 | m |  |  |  |  | To buy | Living + master - only if the ceiling design has a cove
ALL-06 | ALL - Whole house | Lighting | Stair step lights (optional) | Recessed, 220-240V or 24V | 3000K | 22 | pcs |  |  |  |  | To buy | Only if points were wired
ALL-07 | ALL - Whole house | Windows | Sliding window 2500 x 2950 mm | Double glazed: Thermal-break aluminium >=1.4 mm, coastal powder coat, SUS316 hardware, 6 Low-E + 12 + 6 mm tempered, mosquito mesh | Matte anthracite RAL 7016 | 4 | pcs |  |  |  |  | To buy | Living room x2, family lounge x2. BOQ size - RE-MEASURE every opening
ALL-08 | ALL - Whole house | Windows | Sliding window 2500 x 2300 mm | Double glazed: Thermal-break aluminium >=1.4 mm, coastal powder coat, SUS316 hardware, 6 Low-E + 12 + 6 mm tempered, mosquito mesh | Matte anthracite RAL 7016 | 6 | pcs |  |  |  |  | To buy | Dining, guest bedroom, master, bedrooms 1-3. BOQ size - RE-MEASURE every opening
ALL-09 | ALL - Whole house | Windows | Sliding window 2000 x 2000 mm | Double glazed: Thermal-break aluminium >=1.4 mm, coastal powder coat, SUS316 hardware, 6 Low-E + 12 + 6 mm tempered, mosquito mesh | Matte anthracite RAL 7016 | 2 | pcs |  |  |  |  | To buy | Home office, prayer room. BOQ size - RE-MEASURE every opening
ALL-10 | ALL - Whole house | Windows | Sliding window 1500 x 3000 mm | Double glazed: Thermal-break aluminium >=1.4 mm, coastal powder coat, SUS316 hardware, 6 Low-E + 12 + 6 mm tempered, mosquito mesh | Matte anthracite RAL 7016 | 1 | pcs |  |  |  |  | To buy | Stair hall. BOQ size - RE-MEASURE every opening
ALL-11 | ALL - Whole house | Windows | Sliding window 1500 x 1000 mm | Double glazed: Thermal-break aluminium >=1.4 mm, coastal powder coat, SUS316 hardware, 6 Low-E + 12 + 6 mm tempered, mosquito mesh | Matte anthracite RAL 7016 | 2 | pcs |  |  |  |  | To buy | Kitchen, landing. BOQ size - RE-MEASURE every opening
ALL-12 | ALL - Whole house | Windows | Sliding window 900 x 2300 mm | Double glazed: Thermal-break aluminium >=1.4 mm, coastal powder coat, SUS316 hardware, 6 Low-E + 12 + 6 mm tempered, mosquito mesh | Matte anthracite RAL 7016 | 1 | pcs |  |  |  |  | To buy | Master closet. BOQ size - RE-MEASURE every opening
ALL-13 | ALL - Whole house | Windows | Bathroom window 1000 x 1000 mm - obscure glass | Double glazed: Thermal-break aluminium >=1.4 mm, coastal powder coat, SUS316 hardware, 6 Low-E + 12 + 6 mm tempered, mosquito mesh; frosted inner pane | Matte anthracite RAL 7016 | 6 | pcs |  |  |  |  | To buy | Guest bath, public WC, master bath, bathrooms 1-3. RE-MEASURE
ALL-14 | ALL - Whole house | Switches & Sockets | Light switch 1-gang 1-way | UK standard (BS 1363 / BS 5733), 86x86 mm plate for UK back box, screwless metal, 220-240V | One range house-wide - matte black or brushed steel | 18 | pcs |  |  |  |  | To buy | Estimated from ELEC drawings + spares - electrician to count the boxes
ALL-15 | ALL - Whole house | Switches & Sockets | Light switch 1-gang 2-way | UK standard (BS 1363 / BS 5733), 86x86 mm plate for UK back box, screwless metal, 220-240V | One range house-wide - matte black or brushed steel | 2 | pcs |  |  |  |  | To buy | Estimated from ELEC drawings + spares - electrician to count the boxes
ALL-16 | ALL - Whole house | Switches & Sockets | Light switch 2-gang 1-way | UK standard (BS 1363 / BS 5733), 86x86 mm plate for UK back box, screwless metal, 220-240V | One range house-wide - matte black or brushed steel | 9 | pcs |  |  |  |  | To buy | Estimated from ELEC drawings + spares - electrician to count the boxes
ALL-17 | ALL - Whole house | Switches & Sockets | Light switch 2-gang 2-way | UK standard (BS 1363 / BS 5733), 86x86 mm plate for UK back box, screwless metal, 220-240V | One range house-wide - matte black or brushed steel | 7 | pcs |  |  |  |  | To buy | Estimated from ELEC drawings + spares - electrician to count the boxes
ALL-18 | ALL - Whole house | Switches & Sockets | Light switch 3-gang 1-way | UK standard (BS 1363 / BS 5733), 86x86 mm plate for UK back box, screwless metal, 220-240V | One range house-wide - matte black or brushed steel | 4 | pcs |  |  |  |  | To buy | Estimated from ELEC drawings + spares - electrician to count the boxes
ALL-19 | ALL - Whole house | Switches & Sockets | Light switch 3-gang 2-way | UK standard (BS 1363 / BS 5733), 86x86 mm plate for UK back box, screwless metal, 220-240V | One range house-wide - matte black or brushed steel | 5 | pcs |  |  |  |  | To buy | Estimated from ELEC drawings + spares - electrician to count the boxes
ALL-20 | ALL - Whole house | Switches & Sockets | 13A twin switched socket | UK standard (BS 1363 / BS 5733), 86x86 mm plate for UK back box, screwless metal, 220-240V | One range house-wide - matte black or brushed steel | 40 | pcs |  |  |  |  | To buy | Estimated from ELEC drawings + spares - electrician to count the boxes
ALL-21 | ALL - Whole house | Switches & Sockets | 13A twin socket with USB-A + USB-C | UK standard (BS 1363 / BS 5733), 86x86 mm plate for UK back box, screwless metal, 220-240V | One range house-wide - matte black or brushed steel | 32 | pcs |  |  |  |  | To buy | Estimated from ELEC drawings + spares - electrician to count the boxes
ALL-22 | ALL - Whole house | Switches & Sockets | Outdoor IP66 twin socket | IP66 lockable lid, UV-stable, UK 13A | IP66 grey/black | 13 | pcs |  |  |  |  | To buy | Estimated from ELEC drawings + spares - electrician to count the boxes
ALL-23 | ALL - Whole house | Switches & Sockets | Shaver socket | UK standard (BS 1363 / BS 5733), 86x86 mm plate for UK back box, screwless metal, 220-240V | One range house-wide - matte black or brushed steel | 2 | pcs |  |  |  |  | To buy | Estimated from ELEC drawings + spares - electrician to count the boxes
ALL-24 | ALL - Whole house | Switches & Sockets | 20A DP water-heater switch with neon | UK standard (BS 1363 / BS 5733), 86x86 mm plate for UK back box, screwless metal, 220-240V | One range house-wide - matte black or brushed steel | 5 | pcs |  |  |  |  | To buy | Estimated from ELEC drawings + spares - electrician to count the boxes
ALL-25 | ALL - Whole house | Switches & Sockets | 45A DP cooker switch with neon | UK standard (BS 1363 / BS 5733), 86x86 mm plate for UK back box, screwless metal, 220-240V | One range house-wide - matte black or brushed steel | 2 | pcs |  |  |  |  | To buy | Estimated from ELEC drawings + spares - electrician to count the boxes
ALL-26 | ALL - Whole house | Switches & Sockets | 13A switched fused spur (hood, dishwasher, fridge) | UK standard (BS 1363 / BS 5733), 86x86 mm plate for UK back box, screwless metal, 220-240V | One range house-wide - matte black or brushed steel | 3 | pcs |  |  |  |  | To buy | Estimated from ELEC drawings + spares - electrician to count the boxes
ALL-27 | ALL - Whole house | Switches & Sockets | TV + data combo plate | UK standard (BS 1363 / BS 5733), 86x86 mm plate for UK back box, screwless metal, 220-240V | One range house-wide - matte black or brushed steel | 4 | pcs |  |  |  |  | To buy | Estimated from ELEC drawings + spares - electrician to count the boxes
ALL-28 | ALL - Whole house | Switches & Sockets | Blank plates | UK standard (BS 1363 / BS 5733), 86x86 mm plate for UK back box, screwless metal, 220-240V | One range house-wide - matte black or brushed steel | 10 | pcs |  |  |  |  | To buy | Estimated from ELEC drawings + spares - electrician to count the boxes
DOORS-01 | DOORS - All doors | Door Hardware | Hinges - ball bearing SUS316 (4 per door) | Ball-bearing butt hinge EN 1935 Grade 13, solid SUS316 with SUS316 screws | 102 x 76 x 3 mm | 88 | pcs |  |  |  |  | To buy | Qty follows the Doors sheet
DOORS-02 | DOORS - All doors | Door Hardware | Entrance handle set + security mortise sashlock | Solid SUS316, PVD finish; EN 12209 Grade 3 lock case with deadbolt, 60 mm backset | Euro 72 mm | 1 | set |  |  |  |  | To buy
DOORS-03 | DOORS - All doors | Door Hardware | External door handle set + mortise lock, keyed | Solid SUS316, PVD finish; EN 12209 Grade 3 lock case | Euro 72 mm | 2 | set |  |  |  |  | To buy | Verandah + roof terrace
DOORS-04 | DOORS - All doors | Door Hardware | Bedroom handle set + magnetic lock (privacy turn inside, key outside) | Solid SUS316, PVD finish; silent magnetic latch; emergency release | Euro 72 mm | 5 | set |  |  |  |  | To buy
DOORS-05 | DOORS - All doors | Door Hardware | Bathroom handle set + magnetic lock with occupied indicator | Solid SUS316, PVD finish; silent magnetic latch; emergency release | Euro | 7 | set |  |  |  |  | To buy
DOORS-06 | DOORS - All doors | Door Hardware | Keyed room handle set + magnetic mortise lock | Solid SUS316, PVD finish; silent magnetic latch | Euro 72 mm | 1 | set |  |  |  |  | To buy | Home office
DOORS-07 | DOORS - All doors | Door Hardware | Passage handle set + magnetic latch (no key) | Solid SUS316, PVD finish; silent magnetic latch | Euro | 6 | set |  |  |  |  | To buy
DOORS-08 | DOORS - All doors | Door Hardware | Security Euro cylinders, master-keyed | EN 1303 Grade 6 anti-snap/drill/bump, registered key profile | Turn inside, key outside | 9 | pcs |  |  |  |  | To buy | All on one master-key plan
DOORS-09 | DOORS - All doors | Door Hardware | Master-key system (owner key opens all, room keys separate) | Key plan by the cylinder supplier; 3 master keys + 2 keys per door | - | 1 | set |  |  |  |  | To buy | Give supplier the Doors sheet
DOORS-10 | DOORS - All doors | Door Hardware | Smart lock for entrance (optional) | Fingerprint + keypad + key override, timber-door mortise type, SUS316 front | To suit 45-50 mm door | 1 | pcs |  |  |  |  | To buy | Recommended - confirm it fits the stile
DOORS-11 | DOORS - All doors | Door Hardware | Digital door viewer (entrance) | Camera viewer with inside screen | - | 1 | pcs |  |  |  |  | To buy
DOORS-12 | DOORS - All doors | Door Hardware | Concealed door closer, adjustable, hold-open | EN 1154 size 2-5, mortised in door top, backcheck + delayed action (Dormakaba / GEZE) | - | 3 | pcs |  |  |  |  | To buy | Carpenter mortises - buy BEFORE doors are made
DOORS-13 | DOORS - All doors | Door Hardware | Automatic drop-down bottom seal (every door) | Mortised in door bottom, drops on closing (Planet / Athmer type) | Cut to door width | 22 | pcs |  |  |  |  | To buy | Carpenter grooves the door bottom
DOORS-14 | DOORS - All doors | Door Hardware | Perimeter weather seal (entrance + external doors) | Silicone/EPDM kerf-in or adhesive, 3 sides | Per door | 3 | set |  |  |  |  | To buy
DOORS-15 | DOORS - All doors | Door Hardware | Acoustic perimeter seal (bedroom doors) | Silicone kerf-in or adhesive, 3 sides | Per door | 5 | set |  |  |  |  | To buy | Quiet bedrooms
DOORS-16 | DOORS - All doors | Door Hardware | Floor door stops | SUS316 with replaceable rubber | Low profile | 18 | pcs |  |  |  |  | To buy
DOORS-17 | DOORS - All doors | Door Hardware | Magnetic door holders (hold-open) | SUS316, floor or wall mounted | - | 4 | pcs |  |  |  |  | To buy | Kitchen, pantry, closet, gym
DOORS-18 | DOORS - All doors | Door Hardware | Rubber door silencers (3 per door) | Push-in frame silencers | - | 66 | pcs |  |  |  |  | To buy
GF-KIT-05 | GF-KIT - Kitchen | Kitchen | Base cabinets - L-shape run | No particleboard/MDF - aluminium honeycomb, stainless or E0 marine-ply carcass; Blum/Hettich soft-close | 2000 + 4840 mm runs, 600 deep, 900 high | 1 | set |  |  |  |  | To buy | Supplier works from drawing A-101 - confirm sink & hob positions | 5
GF-KIT-06 | GF-KIT - Kitchen | Kitchen | Wall cabinets | No particleboard/MDF - aluminium honeycomb, stainless or E0 marine-ply carcass; Blum/Hettich soft-close | Per layout, 720-900 high | 1 | set |  |  |  |  | To buy |  | 6
GF-KIT-07 | GF-KIT - Kitchen | Kitchen | Tall units (oven/microwave column + fridge housing) | No particleboard/MDF - aluminium honeycomb, stainless or E0 marine-ply carcass; Blum/Hettich soft-close | Per layout, ~2400 high | 1 | set |  |  |  |  | To buy | Size to chosen appliances | 7
GF-KIT-08 | GF-KIT - Kitchen | Kitchen | Island cabinet with seating overhang | No particleboard/MDF - aluminium honeycomb, stainless or E0 marine-ply carcass; Blum/Hettich soft-close | 2300 x 915 mm (consider 2400 x 1000) | 1 | set |  |  |  |  | To buy |  | 8
GF-KIT-09 | GF-KIT - Kitchen | Kitchen | Sintered stone worktop (run + island) | 12-20 mm, mitred edges, cut-outs for sink & hob | ~7 m² | 7 | m² |  |  |  |  | To buy | Template on site recommended | 9
GF-KIT-10 | GF-KIT - Kitchen | Kitchen | Island bar stools | Counter height, seat ~650 mm | Designer to select | 3 | pcs |  |  |  |  | To buy |  | 10
GF-KIT-11 | GF-KIT - Kitchen | Kitchen | Under-mount double-bowl sink + pull-down mixer | Sink SUS304 1.2 mm handmade (SUS316 if offered); mixer SUS316L stainless body (not 304, not zinc, not plated brass), ceramic cartridge, PVD finish | ~860 x 450 mm, PVD gunmetal | 1 | set |  |  |  |  | To buy |  | 11
GF-KIT-12 | GF-KIT - Kitchen | Kitchen | Built-in hob 90 cm | 220-240V 50Hz, UK plug or hard-wired; confirm local service/warranty; induction 5-zone (or gas - CONFIRM) | 90 cm, black glass | 1 | pcs |  |  |  |  | To buy | Cooking fuel not yet confirmed | 12
GF-KIT-13 | GF-KIT - Kitchen | Kitchen | Chimney cooker hood 90 cm | 220-240V 50Hz, UK plug or hard-wired; confirm local service/warranty; ducted outside, >=1000 m³/h | 90 cm | 1 | pcs |  |  |  |  | To buy | Check duct route | 13
GF-KIT-14 | GF-KIT - Kitchen | Kitchen | Built-in oven 60 cm | 220-240V 50Hz, UK plug or hard-wired; confirm local service/warranty; multifunction 70 L+ | 60 cm, black glass | 1 | pcs |  |  |  |  | To buy |  | 14
GF-KIT-15 | GF-KIT - Kitchen | Kitchen | Built-in microwave / combi-steam oven 45 cm | 220-240V 50Hz, UK plug or hard-wired; confirm local service/warranty | 45 cm, match oven | 1 | pcs |  |  |  |  | To buy |  | 15
GF-KIT-16 | GF-KIT - Kitchen | Kitchen | Built-in dishwasher 60 cm | 220-240V 50Hz, UK plug or hard-wired; confirm local service/warranty; 14 place settings | 60 cm, integrated | 1 | pcs |  |  |  |  | To buy | Feed from RO water | 16
GF-KIT-17 | GF-KIT - Kitchen | Kitchen | Refrigerator - French door | 220-240V 50Hz, UK plug or hard-wired; confirm local service/warranty; inverter, tropical class | ~900 mm wide | 1 | pcs |  |  |  |  | To buy | Consider buying locally for warranty | 17
GF-PAN-02 | GF-PAN - Walk-in Pantry | Kitchen | Pantry tall cabinets / shelving | No particleboard/MDF - aluminium honeycomb, stainless or E0 marine-ply carcass; Blum/Hettich soft-close; adjustable shelves | Room 1.70 x 3.80 m | 1 | set |  |  |  |  | To buy
GF-DIN-04 | GF-DIN - Dining | Dining | Dining table, 8 seats | Sintered stone top, steel or solid-wood base | 2400 x 1100 mm | 1 | pcs |  |  |  |  | To buy | Room 7.73 x 3.72 m
GF-DIN-05 | GF-DIN - Dining | Dining | Dining chairs | Performance fabric or leather | Designer to select | 8 | pcs |  |  |  |  | To buy
GF-DIN-06 | GF-DIN - Dining | Dining | Sideboard / buffet | Moisture-resistant carcass | 1800-2200 mm | 1 | pcs |  |  |  |  | To buy
GF-DIN-07 | GF-DIN - Dining | Dining | Curtains + motorised track (optional) | Blackout + sheer, 220-240V motor | Per window | 1 | set |  |  |  |  | To buy
GF-LIV-03 | GF-LIV - Living Room | Living Room | L-shaped corner sofa | Leather or performance fabric, kiln-dried hardwood frame | ~3200 x 2600 mm | 1 | set |  |  |  |  | To buy | Per drawing A-104
GF-LIV-04 | GF-LIV - Living Room | Living Room | Accent lounge chairs | Upholstered | Designer to select | 2 | pcs |  |  |  |  | To buy
GF-LIV-05 | GF-LIV - Living Room | Living Room | Coffee table + 2 side tables | Sintered stone or marble tops | ~1300 x 700 mm + 500 mm | 1 | set |  |  |  |  | To buy
GF-LIV-06 | GF-LIV - Living Room | Living Room | TV console / media unit | Floating or low console, cable management | ~2400 mm | 1 | pcs |  |  |  |  | To buy | TV wall per A-104
GF-LIV-07 | GF-LIV - Living Room | Living Room | Area rug | Low pile, washable | 3000 x 4000 mm | 1 | pcs |  |  |  |  | To buy
GF-LIV-08 | GF-LIV - Living Room | Living Room | Curtains + motorised track (optional) | Blackout + sheer, 220-240V motor | Per window | 2 | set |  |  |  |  | To buy
FF-MBR-03 | FF-MBR - Master Bedroom | Master Bedroom | King bed frame with upholstered headboard - custom length | Solid slats; MUST fit 1930 x 2130 mm mattress | For mattress 1930 x 2130 mm | 1 | pcs |  |  |  |  | To buy | Write the size in mm on the order
FF-MBR-04 | FF-MBR - Master Bedroom | Master Bedroom | Mattress - pocket spring + latex, custom | Pocket spring, natural latex layer | 1930 x 2130 x 300 mm | 1 | pcs |  |  |  |  | To buy | Vacuum-rolled saves space
FF-MBR-05 | FF-MBR - Master Bedroom | Master Bedroom | Bedding sets - custom size | Fitted sheet, duvet, pillows for 1930 x 2130 x 300 | 1930 x 2130 mm | 2 | set |  |  |  |  | To buy | Standard sheets will not fit 7 ft
FF-MBR-06 | FF-MBR - Master Bedroom | Master Bedroom | Bedside tables | With drawers | ~550 mm | 2 | pcs |  |  |  |  | To buy
FF-MBR-07 | FF-MBR - Master Bedroom | Master Bedroom | Dresser / vanity + stool |  | ~1200 mm | 1 | set |  |  |  |  | To buy
FF-MBR-08 | FF-MBR - Master Bedroom | Master Bedroom | Bed-end bench | Upholstered | ~1600 mm | 1 | pcs |  |  |  |  | To buy
FF-MBR-09 | FF-MBR - Master Bedroom | Master Bedroom | Lounge chair + side table (optional) |  | Designer to select | 1 | set |  |  |  |  | To buy
FF-MBR-10 | FF-MBR - Master Bedroom | Master Bedroom | Area rug | Low pile | 2400 x 3000 mm | 1 | pcs |  |  |  |  | To buy
FF-MBR-11 | FF-MBR - Master Bedroom | Master Bedroom | Curtains + motorised track (optional) | Blackout + sheer, 220-240V motor | Per window | 1 | set |  |  |  |  | To buy
FF-CLO-02 | FF-CLO - Master Closet | Master Bedroom | Walk-in closet system (hanging, drawers, shoe racks, LED) | No particleboard/MDF - aluminium honeycomb, stainless or E0 marine-ply carcass; Blum/Hettich soft-close; sensor LED strips | 3.00 x 3.00 m room, ~2400 high | 1 | set |  |  |  |  | To buy | Send drawing A-102 to supplier
WATER-01 | WATER - RO plant | Water Treatment (RO) | RO unit 1000 L/h, brackish water | SS316 high-pressure pump (Grundfos/CNP), 4-6 x 4040 BW membranes (DuPont/Toray), SS316 housings, PLC + conductivity meter, auto-flush, pressure protection | 1000 L/h, 380V 3-phase | 1 | set |  |  |  |  | To buy | Size only after the raw-water lab test
WATER-02 | WATER - RO plant | Water Treatment (RO) | Raw-water booster pump | Stainless | To suit plant | 1 | pcs |  |  |  |  | To buy
WATER-03 | WATER - RO plant | Water Treatment (RO) | Sand filter + carbon filter, auto backwash | FRP vessels + automatic valves | To suit 1500-2000 L/h feed | 1 | set |  |  |  |  | To buy
WATER-04 | WATER - RO plant | Water Treatment (RO) | Antiscalant dosing system | Dosing pump + tank | - | 1 | set |  |  |  |  | To buy
WATER-05 | WATER - RO plant | Water Treatment (RO) | Water softener (optional) | FRP vessel + brine tank, auto regeneration | To suit feed | 1 | set |  |  |  |  | To buy | Only if lab test shows high hardness
WATER-06 | WATER - RO plant | Water Treatment (RO) | 5-micron cartridge filter housing | SS316 | 20 inch | 1 | pcs |  |  |  |  | To buy
WATER-07 | WATER - RO plant | Water Treatment (RO) | UV steriliser + remineralisation filter (after RO) | SS316 UV chamber; calcite media vessel | To suit 1000 L/h | 1 | set |  |  |  |  | To buy | RO water is corrosive without remineralisation
WATER-08 | WATER - RO plant | Water Treatment (RO) | Product-water pump to roof tanks | Stainless, with pressure/level control | To suit head to roof | 1 | pcs |  |  |  |  | To buy
WATER-09 | WATER - RO plant | Water Treatment (RO) | Spares: 2 membranes, 50 cartridges, 12 months chemicals, TDS meter | Same models as installed | - | 1 | set |  |  |  |  | To buy
ALL-29 | ALL - Whole house | Tools & Spares | Tile levelling clips + wedges | Re-usable wedges; clips for 6-12 mm tiles | 1.5 mm joint | 6000 | pcs |  |  |  |  | To buy | About 10 per slab
ALL-30 | ALL - Whole house | Tools & Spares | Tile edge trims / corner profiles | Anodised aluminium or SUS316, 2.5 m | 10 mm | 80 | pcs |  |  |  |  | To buy
ALL-31 | ALL - Whole house | Tools & Spares | Slab suction lifter + carrying frame | For 1200 x 2400 slabs | - | 1 | set |  |  |  |  | To buy | Essential
ALL-32 | ALL - Whole house | Tools & Spares | Spare mixer cartridges & aerators | Same brand as the mixers | - | 1 | set |  |  |  |  | To buy | Hard to find locally
ALL-33 | ALL - Whole house | Tools & Spares | Spare handle set + 8 spare hinges | Same models as above | - | 1 | set |  |  |  |  | To buy

## By Room
By Room - choose a room, print the page
Give it to the supplier to pack against, and to the site team when the box for that room arrives.
Room: |  | GF-KIT - Kitchen
Items: |  | 17 | Total CNY: | 0 | Total USD: | 0 | Received: | 0 of 17
# | Item | Must-have spec | Size / Finish | Qty | Unit | Price (CNY) | Supplier | Status | Notes
1 | Floor - big porcelain slab (+ extra % for cuts) | Porcelain slab, rectified, absorption <0.5%, marble-look | 1200 x 2400 mm, satin finish | 25 | m² |  |  | To buy | Qty follows the area on the Rooms sheet (estimated - measure on site)
2 | Kitchen backsplash slab (+ extra %) | Sintered stone or porcelain slab matching worktop | 1200 x 2400 mm | 7 | m² |  |  | To buy | Qty follows Rooms sheet
3 | Pendants over island (optional) | LED | Designer to select | 3 | pcs |  |  | To buy | Only if a ceiling point exists over the island
4 | Under-cabinet LED strip + profile + driver | 24V, CRI>90, aluminium profile with diffuser | 3000K | 7 | m |  |  | To buy
5 | Base cabinets - L-shape run | No particleboard/MDF - aluminium honeycomb, stainless or E0 marine-ply carcass; Blum/Hettich soft-close | 2000 + 4840 mm runs, 600 deep, 900 high | 1 | set |  |  | To buy | Supplier works from drawing A-101 - confirm sink & hob positions
6 | Wall cabinets | No particleboard/MDF - aluminium honeycomb, stainless or E0 marine-ply carcass; Blum/Hettich soft-close | Per layout, 720-900 high | 1 | set |  |  | To buy
7 | Tall units (oven/microwave column + fridge housing) | No particleboard/MDF - aluminium honeycomb, stainless or E0 marine-ply carcass; Blum/Hettich soft-close | Per layout, ~2400 high | 1 | set |  |  | To buy | Size to chosen appliances
8 | Island cabinet with seating overhang | No particleboard/MDF - aluminium honeycomb, stainless or E0 marine-ply carcass; Blum/Hettich soft-close | 2300 x 915 mm (consider 2400 x 1000) | 1 | set |  |  | To buy
9 | Sintered stone worktop (run + island) | 12-20 mm, mitred edges, cut-outs for sink & hob | ~7 m² | 7 | m² |  |  | To buy | Template on site recommended
10 | Island bar stools | Counter height, seat ~650 mm | Designer to select | 3 | pcs |  |  | To buy
11 | Under-mount double-bowl sink + pull-down mixer | Sink SUS304 1.2 mm handmade (SUS316 if offered); mixer SUS316L stainless body (not 304, not zinc, not plated brass), ceramic cartridge, PVD finish | ~860 x 450 mm, PVD gunmetal | 1 | set |  |  | To buy
12 | Built-in hob 90 cm | 220-240V 50Hz, UK plug or hard-wired; confirm local service/warranty; induction 5-zone (or gas - CONFIRM) | 90 cm, black glass | 1 | pcs |  |  | To buy | Cooking fuel not yet confirmed
13 | Chimney cooker hood 90 cm | 220-240V 50Hz, UK plug or hard-wired; confirm local service/warranty; ducted outside, >=1000 m³/h | 90 cm | 1 | pcs |  |  | To buy | Check duct route
14 | Built-in oven 60 cm | 220-240V 50Hz, UK plug or hard-wired; confirm local service/warranty; multifunction 70 L+ | 60 cm, black glass | 1 | pcs |  |  | To buy
15 | Built-in microwave / combi-steam oven 45 cm | 220-240V 50Hz, UK plug or hard-wired; confirm local service/warranty | 45 cm, match oven | 1 | pcs |  |  | To buy
16 | Built-in dishwasher 60 cm | 220-240V 50Hz, UK plug or hard-wired; confirm local service/warranty; 14 place settings | 60 cm, integrated | 1 | pcs |  |  | To buy | Feed from RO water
17 | Refrigerator - French door | 220-240V 50Hz, UK plug or hard-wired; confirm local service/warranty; inverter, tropical class | ~900 mm wide | 1 | pcs |  |  | To buy | Consider buying locally for warranty
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80

## Rooms
Rooms
Tile quantities on the Shopping List follow the areas here. Areas are estimated from the drawings - correct them after measuring on site.
Room | Floor | Floor area m² | Wall tile m² | Items | Total CNY | Received | Notes
GF-ENT - Entrance | Ground | 4 |  | 2 | 0 | 0 / 2 | Main door
GF-HAL - Hall & Corridors | Ground | 45 |  | 1 | 0 | 0 / 1 | Central corridor, stair hall
GF-LIV - Living Room | Ground | 28.2 |  | 8 | 0 | 0 / 8 | 6.00 x 4.70 m, TV wall
GF-DIN - Dining | Ground | 28.8 |  | 7 | 0 | 0 / 7 | 7.73 x 3.72 m, 8 seats
GF-KIT - Kitchen | Ground | 22 | 6 | 17 | 0 | 0 / 17 | 5.80 x 3.80 m, L-shape + island; wall m² = backsplash
GF-PAN - Walk-in Pantry | Ground | 6.5 |  | 2 | 0 | 0 / 2 | 1.70 x 3.80 m
GF-STR - Store Room | Ground | 5.7 |  | 1 | 0 | 0 / 1 | 1.50 x 3.80 m
GF-OFF - Home Office | Ground | 7.9 |  | 1 | 0 | 0 / 1
GF-PRY - Prayer Room | Ground | 8.5 |  | 1 | 0 | 0 / 1
GF-GBR - Guest Bedroom | Ground | 16.2 |  | 1 | 0 | 0 / 1 | 4.27 x 3.80 m
GF-GBA - Guest Bathroom | Ground | 6.2 | 26.9 | 12 | 0 | 0 / 12 | Shower + WC + basin
GF-PWC - Public WC | Ground | 2.5 | 14.8 | 9 | 0 | 0 / 9 | WC + basin
GF-VER - Kitchen Verandah | Ground | 9 |  | 1 | 0 | 0 / 1 | Outdoor
GF-PRK - Carport | Ground | 31.4 |  | 1 | 0 | 0 / 1 | 2 cars
GF-STA - Stairs Ground to First | Ground |  |  | 3 | 0 | 0 / 3 | 22 risers, 21 treads
FF-LND - Landing & Corridor | First | 35 |  | 1 | 0 | 0 / 1
FF-MBR - Master Bedroom | First | 28.2 |  | 11 | 0 | 0 / 11 | 6.00 x 4.70 m
FF-MBA - Master Bathroom | First | 8.6 | 29.1 | 13 | 0 | 0 / 13 | Bathtub + shower + double basin
FF-CLO - Master Closet | First | 9 |  | 2 | 0 | 0 / 2 | 3.00 x 3.00 m walk-in
FF-BR1 - Bedroom 1 | First | 16.7 |  | 1 | 0 | 0 / 1 | Tiles only
FF-BA1 - Bathroom 1 | First | 6.1 | 27.6 | 12 | 0 | 0 / 12
FF-BR2 - Bedroom 2 | First | 15 |  | 1 | 0 | 0 / 1 | Tiles only
FF-BA2 - Bathroom 2 | First | 6.7 | 27.6 | 12 | 0 | 0 / 12
FF-BR3 - Bedroom 3 | First | 15.7 |  | 1 | 0 | 0 / 1 | Tiles only
FF-BA3 - Bathroom 3 | First | 4.3 | 21.2 | 12 | 0 | 0 / 12
FF-FAM - Family Lounge | First | 28.2 |  | 2 | 0 | 0 / 2 | Tiles only
FF-BAL - Balconies (all 4) | First | 35.5 |  | 1 | 0 | 0 / 1 | Master 7.7 + front 12.0 + bedroom-1 9.0 + shared 6.8
FF-STA - Stairs First to Roof | First |  |  | 3 | 0 | 0 / 3 | 22 risers, 21 treads
RF-GYM - Gym | Roof | 47.2 |  | 1 | 0 | 0 / 1 | Tiles only
RF-WC - Roof WC | Roof | 2.1 | 13.2 | 9 | 0 | 0 / 9 | WC + basin
RF-LOB - Roof Lobby | Roof | 18.6 |  | 1 | 0 | 0 / 1 | Covered area outside gym
RF-TER - Roof Terrace (Phase II) | Roof | 110 |  | 2 | 0 | 0 / 2 | Optional - Phase II
ALL - Whole house | All |  |  | 33 | 0 | 0 / 33 | Items for the whole house (switches, lights, spares)
DOORS - All doors | All |  |  | 18 | 0 | 0 / 18 | Hardware for the locally-made doors - see Doors sheet
WATER - RO plant | Outside |  |  | 9 | 0 | 0 / 9 | Water treatment near borehole

## Doors
Doors - the locally-made doors
Door hardware quantities on the Shopping List follow this table.
Doors: | 22 | Entrance: 1 | External: 2 | Bedroom: 5 | Bathroom: 7 | Keyed: 1 | Passage: 6
Door | Room | Door type | Size W x H (mm) | Stop / Holder | Notes
D01 | GF-ENT - Entrance | Entrance | 1200 x 2700 | Floor stop | Main front door
D02 | GF-KIT - Kitchen | Passage | 800 x 2700 | Magnetic holder
D03 | GF-PAN - Walk-in Pantry | Passage | 800 x 2700 | Magnetic holder
D04 | GF-STR - Store Room | Passage | 800 x 2700 | Floor stop
D05 | GF-OFF - Home Office | Keyed | 800 x 2700 | Floor stop | Network room - lockable
D06 | GF-PRY - Prayer Room | Passage | 800 x 2700 | Floor stop
D07 | GF-GBR - Guest Bedroom | Bedroom | 900 x 2700 | Floor stop
D08 | GF-GBA - Guest Bathroom | Bathroom | 800 x 2700 | Floor stop
D09 | GF-PWC - Public WC | Bathroom | 800 x 2700 | Floor stop
D10 | GF-VER - Kitchen Verandah | External | 800 x 2500 | Floor stop | Kitchen to verandah
D11 | FF-MBR - Master Bedroom | Bedroom | 900 x 2700 | Floor stop
D12 | FF-MBA - Master Bathroom | Bathroom | 800 x 2700 | Floor stop
D13 | FF-CLO - Master Closet | Passage | 800 x 2700 | Magnetic holder
D14 | FF-BR1 - Bedroom 1 | Bedroom | 900 x 2700 | Floor stop
D15 | FF-BA1 - Bathroom 1 | Bathroom | 800 x 2700 | Floor stop
D16 | FF-BR2 - Bedroom 2 | Bedroom | 900 x 2700 | Floor stop
D17 | FF-BA2 - Bathroom 2 | Bathroom | 800 x 2700 | Floor stop
D18 | FF-BR3 - Bedroom 3 | Bedroom | 900 x 2700 | Floor stop
D19 | FF-BA3 - Bathroom 3 | Bathroom | 800 x 2700 | Floor stop
D20 | RF-GYM - Gym | Passage | 900 x 2700 | Magnetic holder
D21 | RF-WC - Roof WC | Bathroom | 800 x 2700 | Floor stop
D22 | RF-LOB - Roof Lobby | External | 800 x 2500 | Floor stop | Door to roof terrace
Door types - Entrance: security lock, closer, viewer. External: keyed, closer, weather seal. Bedroom: privacy turn inside, key outside. Bathroom: occupied indicator. Keyed: lockable room. Passage: latch only.

## Packing
Packing - one line per box
Supplier fills this before loading: supplier name, room, what is inside, box size. The text to write on the box is created for you. Tick Received when the box arrives.
Boxes: | 1 | Total CBM: | 0.45937 | Container: | 1 x 20ft |  | Received: | 0 of 1
Box | Supplier | Room | WRITE THIS ON THE BOX | What is inside | Item IDs | L cm | W cm | H cm | CBM | kg | Received? | Notes
1 | Foshan Tile Co. | GF-KIT - Kitchen | GF-KIT - Kitchen ¦ BOX 1 OF 1 ¦ Foshan Tile Co. | (Example) Floor slab 1200x2400, 2 pieces | GF-KIT-01 | 245 | 125 | 15 | 0.45937 | 95 | N | Example - overwrite
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190
191
192
193
194
195
196
197
198
199
200
201
202
203
204
205
206
207
208
209
210
211
212
213
214
215
216
217
218
219
220
221
222
223
224
225
226
227
228
229
230
231
232
233
234
235
236
237
238
239
240
241
242
243
244
245
246
247
248
249
250
251
252
253
254
255
256
257
258
259
260
261
262
263
264
265
266
267
268
269
270
271
272
273
274
275
276
277
278
279
280
281
282
283
284
285
286
287
288
289
290
291
292
293
294
295
296
297
298
299
300

## Quality Guide
Quality Guide - what 'highest quality' means for each item
SALTY BOREHOLE WATER
Taps, mixers, showers | Ask for SUS316L stainless bodies. Not 304, not zinc alloy, not chrome-plated brass - all of these pit, blister or leak in salty water. Finish: PVD (brushed gunmetal or brushed stainless), far harder than plating. Cartridges: Sedal or Kerox. Buy spare cartridges and aerators.
How to check it is 316 | Ask for the mill certificate and test a sample at the factory with a handheld XRF alloy tester (many '316' items are 201 or 304). A magnet test does not work. Write 'SUS316L - XRF verified' on every order.
Cisterns, drains, heaters | Cistern fill and flush valves: plastic or stainless, never brass. Floor and shower drains: 316L. Water heaters: titanium-enamel or glass-lined tank with magnesium anode; buy spare anodes.
DOOR HARDWARE (doors made locally)
Buy hardware BEFORE the doors are made | Give the carpenter the actual hinges, lock cases, concealed closers and drop seals (or their technical sheets). Lock backset, hinge size, closer channel and seal groove must be cut into the door. Doors: minimum 45 mm thick hardwood, 4 hinges each - 2.7 m doors are heavy.
Hinges | Ball-bearing butt hinges, EN 1935 Grade 13, solid SUS316 with SUS316 screws, 102 x 76 x 3 mm, 4 per door. Brands: Simonswerk, Hafele, Dormakaba.
Handles & locks | Solid SUS316 lever handles on roses (not hollow, not plated), PVD finish. Silent magnetic latches for all rooms; EN 12209 Grade 3 sashlock with deadbolt on the entrance. Brands: Hoppe, Hafele, Dormakaba, ASSA ABLOY / Yale.
Cylinders & keys | Euro cylinders EN 1303 Grade 6 (anti-snap, anti-drill, anti-bump) with a registered key profile so nobody can copy keys. Order the whole house as one master-key system: one owner key opens everything, each room has its own key. The supplier needs the Doors sheet.
Entrance door | Security sashlock + Grade 6 cylinder, concealed closer with hold-open, digital door viewer, perimeter weather seal, drop-down bottom seal. A fingerprint smart lock is optional but recommended - choose a timber-door model and check it fits the stile.
Door closers | Concealed, adjustable EN 1154 size 2-5 with backcheck, delayed action and hold-open - Dormakaba or GEZE. Mortised into the door top, so the carpenter needs them first. Listed for entrance, verandah and roof-terrace doors.
Bottom seals | Automatic drop-down seals mortised into the door bottom (Planet or Athmer type): drop when the door closes, lift when it opens - no dust, insects, noise or AC loss, no floor rubbing. One per door; the carpenter grooves the door bottom.
Door stops & holders | Floor stops in SUS316 with replaceable rubber. Kitchen, pantry, closet and gym get magnetic hold-open holders. Push-in rubber silencers in every frame.
Where to buy | Only from authorised brand dealers (Hafele, Dormakaba, GEZE, ASSA ABLOY have official showrooms in Guangzhou / Shanghai) - never from general hardware markets, where fakes are common. Ask for the dealer authorisation letter and the brand warranty card.
WATER TREATMENT - RO 1000 L/h
First: test the water | Have the borehole water tested in Dar before asking for quotes: TDS, chloride, sodium, hardness, iron, manganese, silica, pH. A brackish RO plant is sized from these numbers - a supplier who quotes without them is guessing.
What a good plant has | SS316 high-pressure pump (Grundfos or CNP), DuPont FilmTec or Toray brackish membranes in SS316 housings, PLC with conductivity meter, auto-flush, pressure protection, 55-65% recovery. Pre-treatment: sand filter, carbon filter, antiscalant dosing, 5-micron cartridge; softener only if hardness is high. Post-treatment: remineralisation (RO water is corrosive on its own) and UV.
Size & power | 1000 L/h is 24,000 L/day at full run - about 3 hours a day covers 3,000 L. Needs a raw-water tank, a product-water tank and 380 V 3-phase (2-4 kW). Buy 12 months of consumables and spare membranes with the plant.
WINDOWS
Frame colour | Matte anthracite grey RAL 7016 - reads dark against the white facade and stone, shows less dust and salt than black, runs cooler in the sun. Same colour for outdoor wall lights.
Spec | Thermal-break aluminium >= 1.4 mm walls, coastal powder coat (Qualicoat Class 2 / AAMA 2604), SUS316 hardware and screws, 6 mm solar-control Low-E (grey) + 12 mm gap + 6 mm clear, both tempered; obscure inner pane in bathrooms. Re-measure every opening after plastering and give the factory the finished sizes.
TILES
Formats | Main floors and bathroom walls: 1200 x 2400 slabs, satin finish (gloss is slippery and shows scratches). Bathroom floors: 600 x 1200 R11 anti-slip (needed to slope to the drain). Stairs: treads with anti-slip nosing and matching risers. Balconies, lobby, terrace: 600 x 1200 x 20 mm outdoor. Carport and verandah: 20 mm heavy-duty, dark grey like the driveway pavers.
Extra for cuts & breakage | 12% is set on the Start Here sheet and applied to every tile line. Order each type in ONE batch and keep one box per type as spares - you cannot top up from China with a matching shade later.
Moving slabs | A 1200 x 2400 slab is about 50 kg and will not go up the stair - hoist first-floor slabs through the balcony openings. Buy the suction lifter and levelling clips on the list. Use C2TE S1 flexible adhesive, full back-buttering, and fixers who have laid slabs before.
SWITCHES, SOCKETS, LIGHTS
Switches & sockets | UK standard (BS 1363 / BS 5733), square 86 x 86 mm plates for the UK back boxes already in the walls, 220-240 V 50 Hz. One range for the whole house. Count the boxes room by room with the electrician before ordering.
Lights | Downlights CRI > 90 with flicker-free drivers; 3000K in living areas and bedrooms, 4000K in kitchen, pantry, office and gym; IP65 in bathrooms, balconies, carport and verandah. The list already includes 5-10% spares from the same batch.
KITCHEN & FURNITURE
Cabinets | No particleboard or MDF carcasses in Dar humidity - aluminium honeycomb, stainless steel or E0 marine plywood. Doors in matte lacquer, PET or Fenix. Worktop and island: sintered stone. Hardware: Blum or Hettich soft-close.
Appliances | Confirm induction vs gas before buying the hob. All appliances 220-240 V 50 Hz. Fridge and oven have no local warranty if imported - consider buying those in Dar.
Master bed | Mattress 1930 x 2130 mm (King width, 7 ft long). Chinese factories default to 2000 mm long - write the size in mm on the order and make sure frame, mattress and bedding match.
WHERE TO BUY
Markets | Tiles: Foshan (Nanzhuang / China Ceramics City). Sanitary ceramics: Chaozhou and Foshan. Taps: Kaiping / Heshan. Lighting: Guzhen, Zhongshan. Switches: Foshan or Yueqing. Windows: Foshan. Furniture: Foshan Lecong and Longjiang. Kitchens: Foshan / Guangzhou. Door hardware and RO: brand dealers in Guangzhou / Shanghai.
Before final payment | Inspect every order (or hire a third-party inspector): count against the By Room printout, check sizes, finish and batch codes, test-fit a switch in a UK back box, open 10% of tile boxes.

## Lists (hidden)
Category | Status | Unit | YesNo | DoorType | Stop
Tiles | To buy | pcs | Y | Entrance | Floor stop
Sanitary | Ordered | set | N | External | Magnetic holder
Lighting | Paid | m² |  | Bedroom
Windows | Shipped | lm |  | Bathroom
Switches & Sockets | Received | m |  | Keyed
Door Hardware |  |  |  | Passage
Kitchen
Dining
Living Room
Master Bedroom
Water Treatment (RO)
Tools & Spares